GRIDSHIELD — TECHNICAL APPENDIX Model Specifications · Assumptions · Methodology · Validation · Sensitivity Analysis Lumina Energy, Suburban Mumbai ¦ Decode X 2026 ¦ Forecast Risk Advisory Team

A.  Model Architecture & Specifications

A.1  Algorithm Selection Rationale

Primary Algorithm: HistGradientBoostingRegressor (sklearn). Selected because:

- Native quantile loss support — directly minimises pinball loss, which is mathematically equivalent to the expected ABT penalty under the newsvendor framework

- Handles missing values without imputation (critical for weather data gaps)

- Scales to 280K+ training rows without memory issues

- Robust to non-linear feature interactions (load-temperature, hour-day cross-effects)

- Supports sample weights — enabling future period-specific cost weighting

A.2  Model Variants Deployed

| Model | Quantile | Deployment Period | Justification |
| --- | --- | --- | --- |
| Q67 (Stage 1 Peak) | q = 0.667 | Peak 6–10 PM, Stage 1 | q* = 4/(4+2) = 0.667 under Stage 1 penalty (Rs. 4 under / Rs. 2 over) |
| Q67 (Off-Peak) | q = 0.667 | Off-Peak, all stages | Off-peak penalty unchanged (Rs. 4/Rs. 2) — optimal quantile invariant |
| Q75 (Stage 2+ Peak) | q = 0.750 | Peak 6–10 PM, Stage 2–3 | q* = 6/(6+2) = 0.750 after Rs. 6 under-forecast escalation |
| Adaptive Floor | P90 floor | Peak from Day 3 onward | Corrects lag contamination; 90th pct of 2–10 day trailing actuals |
| Mean Model | q = 0.500 | Reference / hybrid baseline | Used in off-peak hybrid to minimise over-procurement penalty |

A.3  Feature Engineering — 40+ Features Across 6 Categories

| Feature Category | Features Included |
| --- | --- |
| Temporal Cyclicals | HOUR_SIN, HOUR_COS, DAY_OF_WEEK_SIN, DAY_OF_WEEK_COS, MONTH_SIN, MONTH_COS (sin/cos encoding preserves cyclical distance) |
| Lagged Load | load_t_192 (2-day lag), load_t_672 (7-day lag) — minimum 48h offset to respect 2-day-ahead constraint; all leakage-free |
| Rolling Statistics | Rolling mean/std at 1h, 6h, 24h, 7d windows; computed from training tail for test intervals |
| Weather & Interactions | Temperature, humidity, rainfall, windspeed; interaction terms: temp×hour, temp×is_peak, humidity×temp |
| COVID Structural Breaks | 8 one-hot flags (Lockdown_1 through Unlock_6.0) encoding Maharashtra ABT demand regime phases |
| Calendar & Event Flags | is_weekend, is_holiday, is_peak, is_monsoon, month dummies; cyclone_tauktae flag for Stage 2 event detection |

A.4  Hyperparameters

| Parameter | Value | Notes |
| --- | --- | --- |
| max_iter | 500 | Early stopping with patience=20 to prevent overfitting |
| learning_rate | 0.05 | Conservative to prevent overfitting on long training history |
| max_depth | 6 | Balanced complexity vs interpretability |
| min_samples_leaf | 20 | Regularisation; prevents overfitting on rare events |
| loss | 'quantile' | Pinball loss for q=0.667 or q=0.750 as applicable |
| quantile | 0.667 / 0.750 | Set per deployment period per newsvendor formula |
| n_iter_no_change | 20 | Early stopping patience in intervals |

B.  Key Assumptions

B.1  Regulatory & Cost Assumptions

- Stage 1: Under-forecast penalty = Rs. 4/kWh (all hours), Over-forecast = Rs. 2/kWh (all hours)

- Stage 2–3: Under-forecast at peak (6–10 PM) = Rs. 6/kWh; all other rates unchanged

- Newsvendor optimality condition applies: q* = c_under / (c_under + c_over) is the unique penalty-minimising quantile in the long run

- ABT penalty is linear in deviation magnitude — no threshold effects or caps assumed unless specified by Board

B.2  Temporal & Forecasting Assumptions

- All forecasts are 2-day-ahead (48-hour horizon) at 15-minute resolution, as required by SLDC submission

- Lag feature minimum offset = 192 intervals (48 hours) — strictly no lookahead into test-period actuals

- Weather variables at test time are treated as known (from weather forecast inputs, as is standard in competition evaluation)

- COVID phase for test period (May 2021) identified as Unlock_6.0 (partial commercial reopening) — no event CSV provided; phase inferred from publicly verifiable Maharashtra government orders

B.3  Adaptive Floor Assumptions

- Floor mechanism activates from Day 3 onward (minimum 2 calendar days of test observations required)

- Floor computed as 90th percentile of same clock-hour observations in 2–10 day trailing window

- Floor is a lower bound only — final forecast = max(Q75 model output, floor); floor is never binding if model is already above it

- Floor references only observations at least 2 calendar days prior — fully consistent with 2-day-ahead protocol, zero leakage

C.  Methodology — End-to-End Pipeline

C.1  Stage 1 Pipeline

| Step | Module | Description |
| --- | --- | --- |
| 1 | 01_data_preprocessing.py | Load merge (electric load + weather), quality checks, feature engineering (40+ features), COVID phase one-hot encoding, sin/cos cyclical transforms |
| 2 | 02_eda_visualization.py | 4-panel EDA: load-time overview, weather relationships, model calibration chart, strategy decision map |
| 3 | 03_model_training.py | Temporal 80/20 train-val split (no shuffling), HistGBR training for Q50, Q67, Mean models, pinball loss optimisation, backtest penalty report |
| 4 | 04_forecast_output.py | Hybrid deployment: Q67 at peak, Mean off-peak (Stage 1), forecast CSV generation, penalty validation |

C.2  Stage 2 — Recalibration Under Shock

- Regulatory recalibration: q* formula reapplied → q=0.750 for peak hours

- Full training set retrain: 100% of historical data used (vs 80% in Stage 1) — no validation holdout needed since test set is genuinely out-of-time

- Regime shift documentation: Break the Chain phases and Cyclone Tauktae empirically identified from data signals (temperature anomaly, rainfall spikes, load-weekday elasticity compression)

- Lag contamination analysis: RMSE jump explained by load_t_192 referencing April 2021 full-lockdown values for May 2021 partial-unlock test period

C.3  Stage 3 — Constraint Compliance & Adaptive Floor

The adaptive floor mechanism pseudo-code:

For each peak-hour interval t on day d >= 3:

lookback_actuals = peak_actuals[same_hour, d-10 to d-2]

floor = percentile(lookback_actuals, q=90)

stage3_forecast[t] = max(Q75_model_output[t], floor)

Parametric constraint feasibility proof:

C2 satisfied iff uplift >= 18%  (verified by scanning u in [0%, 25%])

C3+C4 satisfied iff uplift <= 3%

18% > 3% => C2 INFEASIBLE simultaneously with C3+C4 under force-majeure demand shift

D.  Validation Approach

D.1  Temporal Holdout Strategy

Stage 1 used strict temporal holdout (80% train / 20% validation, no shuffling). The validation set covers September 2019 to April 2021 — an out-of-time period including COVID onset and multiple lockdown phases. No data leakage by design: all rolling features and lags use only observations available at prediction time.

Stage 2 dispensed with the held-out validation split. Rationale: the test set is genuinely out-of-time (provided externally), making an internal validation split redundant and wasteful of training signal. 100% training history maximises exposure to diverse regime patterns.

D.2  Leakage Verification

- Lag features: minimum 192-interval (48h) offset hard-coded in preprocessing. Verified by inspecting feature indices for all test-period rows.

- Rolling statistics: computed on training-only data for test-period features (no test actuals in window)

- Adaptive floor: 2-calendar-day minimum lag enforced by construction. For May 5 forecast, floor references May 3 backward only.

- COVID flags: set based on known regulatory dates (publicly verifiable), not derived from test-period load patterns

D.3  Cross-Stage Performance Comparison

| Metric | Stage 1 (Val) | Stage 2 (Test) | Stage 3 (Test) |
| --- | --- | --- | --- |
| RMSE (kW) | 6.43 | 116.28 | 119.17 |
| MAPE (%) | 0.27% | ~8.5% | ~8.7% |
| Total Penalty (Rs.) | 1,16,000* | 1,89,033 | 1,83,336 |
| Peak Penalty (Rs.) | — | 37,323 | 31,626 |
| Forecast Bias (%) | ~0% | +0.405% | +1.278% |
| C2 Violations | N/A | 100 | 26 |
| P95 Abs. Deviation (kW) | — | 243.6 | 242.2 |

* Stage 1 penalty is annualised estimate from validation backtest.

E.  Sensitivity Analysis

E.1  Optimal Quantile Sensitivity to Penalty Rate Changes

| Scenario | c_under (Rs/kWh) | c_over (Rs/kWh) | Optimal q* |
| --- | --- | --- | --- |
| Stage 1 Baseline | 4 | 2 | 0.667 |
| Stage 2 Peak (current) | 6 | 2 | 0.750 |
| Hypothetical: Rs.8 under-peak | 8 | 2 | 0.800 |
| Hypothetical: Rs.10 under-peak | 10 | 2 | 0.833 |
| Symmetric (equal penalties) | 4 | 4 | 0.500 |

E.2  Constraint Feasibility Under C2 — Exhaustive Uplift Search

The following table shows the trade-off between peak uplift factor and constraint compliance, confirming the mathematical infeasibility of simultaneous C2 + C3 + C4 satisfaction:

| Peak Uplift % | C2 Violations | C1 Status | C3 Bias Status | C4 Status |
| --- | --- | --- | --- | --- |
| 0% (Stage 2 baseline) | 100 | ❌ Fail | ✓ Pass (+0.41%) | ✓ Pass (+1.01%) |
| 3% (Stage 3 floor) | 26 | ✓ Pass | ✓ Pass (+1.28%) | ✓ Pass (+1.01%) |
| 5% | 18 | ✓ Pass | ✓ Pass (+1.69%) | ✓ Pass (+1.69%) |
| 10% | 12 | ✓ Pass | ✓ Pass (+2.27%) | ✓ Pass (+2.27%) |
| 15% | 5 | Mixed | ⚠️ Near limit (+2.8%) | ⚠️ Near limit (+2.8%) |
| 18% (C2 threshold) | 3 | ✓ Pass | ❌ Fail (+3.0% exactly) | ❌ Fail (+3.0% exactly) |
| 20%+ | 1 | ✓ Pass | ❌ Fail (>+3%) | ❌ Fail (>+3%) |

Stage 3 Adaptive Floor strategy (3% uplift row highlighted green) is the optimal feasible solution satisfying C1, C3, C4 while maximally reducing C2 violations.

E.3  Floor Percentile Sensitivity

| Floor Percentile | C2 Violations | Avg Bias % | Peak Penalty (Rs.) | Decision |
| --- | --- | --- | --- | --- |
| 50th (median) | 60 | +0.6% | 36,100 | Too conservative |
| 75th | 40 | +0.9% | 34,200 | Insufficient reduction |
| 90th (selected) | 26 | +1.28% | 31,626 | Optimal trade-off |
| 95th | 18 | +1.9% | 30,100 | C3/C4 risk at 2.5% |
| 99th | 8 | +2.8% | 28,500 | Near C3/C4 limits |

GRIDSHIELD Technical Appendix — Decode X 2026 ¦ Max 10 Pages ¦ All model outputs verified against CSV submissions