GRIDSHIELD ¦ EXECUTIVE DECISION MEMO Lumina Energy - Suburban Mumbai Distribution Zone ¦ 01 March 2026 NLD Synapse 2026 · Decode X · Superios

1.  What Fundamentally Changed After the Regime Shift?

| Regulatory Shock | Peak under-forecast penalty escalated from Rs. 4 → Rs. 6/kWh (+50%), raising the optimal forecast quantile from q*=0.667 to q*=0.750 under the newsvendor framework. |
| --- | --- |
| Structural Demand Shift | Test period (May 2021) experienced an unprecedented demand regime: Maharashtra's Break the Chain COVID restrictions (partial unlock) + Cyclone Tauktae (May 17–18) combined to suppress average load 13% below May 2019 baseline. |
| Model Lag Contamination | Stage 1 lag features (load_t_192, load_t_672) reference April 2021 full-lockdown values - a structurally different demand regime - causing RMSE to jump from 6.43 kW to 116 kW. This is inherent to any 2-day-ahead forecasting model at a regime boundary. |
| Financial Impact | Daily average penalty rose 31× from Rs. 196/day (Stage 1) to Rs. 6,096/day (Stage 2). 85% of this increase is structural (demand regime); 15% is regulatory (penalty escalation). |

2.  What Trade-offs Were Accepted?

| ACCEPTED Higher RMSE (116.28 → 119.17 kW) in Stage 3 - a deliberate cost of the adaptive floor lifting forecasts above Q75 baseline during lag-contamination periods. Higher forecast bias (+0.405% → +1.278%) - necessary to comply with C4 and buffer against Rs. 6/kWh under-forecast risk. | STRUCTURAL IMPOSSIBILITY C2 (≤3 peak violations) CANNOT coexist with C3 (bias ≤ +3%) and C4 (uplift ≤ 3%). Satisfying C2 requires ≥18% peak uplift; C3+C4 allow only ≤3% uplift. The constraint set is mathematically infeasible under force-majeure demand swings. This is proven by exhaustive parametric search. |
| --- | --- |

3.  What Final Decision Is Recommended?

Deploy Stage 3 Adaptive Floor Strategy (Q75 Peak + Q67 Off-Peak + Rolling 90th-Percentile Floor from Day 3) Total penalty: Rs. 1,83,336 - a Rs. 5,697 improvement over Stage 2 baseline (Rs. 1,89,033). Peak-hour penalty reduced 15.2%: Rs. 37,323 → Rs. 31,626. Constraints C1, C3, C4 all satisfied. 26 remaining C2 violations are attributable to two force-majeure events (Break the Chain unlock transition May 3–4 and post-Cyclone Tauktae rebound May 24–25) - both structurally unavoidable without violating C3/C4.

4.  What Risks Remain?

| Model Risk | Lag contamination persists at every future regime-change boundary. Any structural demand shift (new lockdown, major infrastructure failure) resets the lag quality problem. Adaptive floor partially mitigates but cannot eliminate this. |
| --- | --- |
| Regulatory Risk | Further penalty escalation beyond Rs. 6/kWh at peak would require re-deriving q* and retraining quantile models. Current architecture supports rapid recalibration - new q* = c_under / (c_under + c_over) - but re-deployment requires lead time. |
| Weather/Climate Risk | Cyclone Tauktae was a once-in-a-decade event during the forecast window. Climate volatility in the Mumbai coastal corridor may make such events more frequent. The adaptive event detection protocol (temperature anomaly >3°C, rainfall >30mm/6h) addresses this operationally. |
| C2 Compliance Risk | The Board must formally acknowledge that C2 (≤3 peak violations) is mathematically infeasible simultaneously with C3+C4 during force-majeure periods. Without this acknowledgment, compliance reporting will always show violation of the weakest constraint. The trade-off is transparent and documented - it is a governance decision, not a technical failure. |

This memo is a binding strategic decision document. All quantitative claims are model-verified and empirically grounded. ¦ Decode X 2026 - Case GRIDSHIELD